# 1. Shared Design System (Lab + Bench)

Both the lab web portal and bench touch LCD share the same design language, component library, and codebase. The bench UI is a touch-optimized variant, not a separate design.

## 1.1 Color Tokens (CSS Variables)

| Token | Value | Usage |
| --- | --- | --- |
| --color-primary | #1B3A5C | Nav bar, headers, primary buttons, active states |
| --color-secondary | #2E75B6 | Links, secondary buttons, info badges, chart lines |
| --color-success | #27AE60 | PASS badges, healthy status, successful operations |
| --color-warning | #F39C12 | Pending states, approaching limits, retry indicators |
| --color-danger | #E74C3C | FAIL badges, errors, E-stop, communication failure |
| --color-surface | #F8FAFC | Page background (subtle cool gray) |
| --color-card | #FFFFFF | Card backgrounds, shadow: 0 1px 3px rgba(0,0,0,0.08) |
| --color-text | #1E293B | Primary text, headings |
| --color-text-muted | #64748B | Secondary text, timestamps, descriptions |
| --color-border | #E2E8F0 | Card borders, dividers, table lines |
| --color-accent-gradient | #2E75B6 → #1B3A5C | CTA buttons, active nav, page headers |

## 1.2 Typography

| Element | Font | Size | Notes |
| --- | --- | --- | --- |
| Primary | Inter (Google Fonts) | -- | Clean, modern sans-serif. Preloaded. font-display: swap. |
| Fallback | system-ui, -apple-system | -- | System fonts as fallback stack |
| Monospace | JetBrains Mono / Fira Code | -- | Serial logs, protocol data, register values |
| Page Title | Inter Bold | 24px | One per page. Lab: top bar. Bench: inline. |
| Section Header | Inter SemiBold | 18px | Card titles, grouped sections |
| Body | Inter Regular | 14px | Default content (bench: 15px for readability) |
| Small/Caption | Inter Regular | 12px | Timestamps, meta info (bench: 13px) |
| Data Values | Inter Medium | 16-24px | KPI numbers, gauge readings (bench: 20-32px) |
| Button | Inter SemiBold | 14px | All buttons, Title Case (bench: 16px, 48px min height) |

## 1.3 Spacing & Layout

8px base grid: 4px (xs), 8px (sm), 12px (md), 16px (lg), 24px (xl), 32px (2xl), 48px (3xl). Card padding: 24px. Card gap: 16px. Border radius: 6px cards/buttons, 8px modals, 4px badges. Elevation: Level 0 (none), Level 1 (0 1px 3px), Level 2 (0 4px 12px), Level 3 (0 8px 24px).

## 1.4 Icon Library — Lucide Icons

Primary icon set: Lucide (https://lucide.dev). Open-source, consistent, 1000+ icons. Rendered as inline SVG.

| Feature | Lucide Icon | Usage |
| --- | --- | --- |
| Dashboard | layout-dashboard | Nav item, breadcrumb |
| New Test | play-circle | CTA button, nav |
| Live Monitor | activity | Real-time page. Animated pulse when active. |
| Test Results | clipboard-check | Results page |
| History | history | Past tests list |
| Meter Registry | gauge | Meter section (flow meter metaphor) |
| Certificates | award | Certificate listing |
| Users | users | User management (Admin) |
| Settings | settings | Configuration page |
| Audit Log | file-text | Audit trail |
| Communication | radio | LoRa comm status |
| Emergency Stop | octagon | Always visible. Red. Pulsing when active. |
| PASS | check-circle | Green. Test point or overall pass. |
| FAIL | x-circle | Red. Test point or overall fail. |
| Pending | clock | Orange. Awaiting result/approval. |
| Download | download | PDF certificate download |
| Search | search | Filter/search inputs |
| Add/Create | plus-circle | Add meter, create test |
| Edit | pencil | Edit actions |
| Delete | trash-2 | Delete with confirmation |
| Refresh | refresh-cw | Manual data refresh |
| Temperature | thermometer | Temp readings |
| Pressure | arrow-down-circle | Pressure readings |
| Flow Rate | droplets | Flow indicator |
| Weight | scale | Weighing scale reading (bench) |
| Approve | thumbs-up | Manager approval (lab) |
| Reject | thumbs-down | Manager rejection (lab) |
| Signal | wifi | LoRa signal indicator |
| Power | power | Contactor/system power status |
| Valve | git-branch | Valve status indicator (bench) |

Icon sizes: Nav 20px, Button 16px, Status inline 14px, Dashboard card 28px, Empty state 48px, Table actions 16px, Toast 20px.

# 2. Frontend Technology Stack

| Technology | Purpose |
| --- | --- |
| Bootstrap 5.3 | Layout grid, responsive utilities, form components. Custom SCSS variables for design tokens. |
| HTMX 1.9+ | Partial page updates. hx-get, hx-post, hx-trigger for polling. hx-swap for content replacement. No full SPA needed. |
| Alpine.js 3.x | Lightweight reactivity: dropdowns, modals, toggles, tabs, confirmation dialogs. No build step. |
| Lucide Icons | SVG icons via CDN. Consistent, crisp at any size. |
| Chart.js 4.x | Error curve graphs, dashboard sparklines. Responsive, animated, touch-friendly. |
| Inter Font | Google Fonts. Preloaded for performance. |
| Custom SCSS | CSS variables for tokens. BEM naming. Component-scoped. Print stylesheet for certificates. |
| WebSocket (bench only) | Django Channels. Real-time gauge updates from Redis pub/sub during active tests. |

# 3. Lab Side — Web Portal UI

## 3.1 Access & Layout

Accessed via browser on LAN: http://<rpi5-ip>:8080. Laptop or tablet. Login required. Layout: fixed left sidebar (260px, collapsible to 64px icons on tablet) + top header bar + main content area (max 1280px centered). Sidebar groups: TESTING (Dashboard, New Test, Live Monitor, Results, History), MANAGEMENT (Meters, Certificates, Users), SYSTEM (Audit, Settings).

## 3.2 User Roles & Visible Pages

| Page | Admin | Manager | Lab Tech | Bench Tech | Notes |
| --- | --- | --- | --- | --- | --- |
| Login | ✓ | ✓ | ✓ | ✓ | All roles |
| Dashboard | ✓ | ✓ | ✓ | ✓ | Role-specific quick actions |
| New Test | ✓ | ✓ | ✓ | ✗ | Lab tech primary user |
| Live Monitor | ✓ | ✓ | ✓ | ✓ | View only for bench tech |
| Test Results | ✓ | ✓ | Own | ✓ | Manager sees all, tech sees own |
| Test History | ✓ | ✓ | Own | Own | Filterable by role scope |
| Meters | ✓ | ✓ | ✓ | ✗ | Lab tech can register |
| Certificates | ✓ | ✓ | ✗ | ✗ | Manager generates |
| Users | ✓ | ✗ | ✗ | ✗ | Admin only |
| Audit Log | ✓ | ✓ | ✗ | ✗ | Read-only for manager |
| Settings | ✓ | ✗ | ✗ | ✗ | Admin only |

## 3.3 Page-by-Page Specification

3.3.1 Login Page

Centered card on surface background. ACMIS/IIIT-B logo at top. Username + password fields. Login button (primary gradient). 'Remember username' checkbox. Error message inline below fields (red text, shake animation). On success: redirect to Dashboard. Show role badge briefly as toast. No registration link (Admin creates accounts).

3.3.2 Dashboard

Top row: 3 status cards — (1) Communication Health (LoRa status dot: green/red/orange + last heartbeat time + signal bars), (2) Active Test (meter serial + current Q-point + progress bar, or 'No active test'), (3) Today Summary (tests run / passed / failed counts).

Middle section: Recent Tests table (last 5) with date, meter, result badge, initiated by. Click row to view details.

Right rail (or bottom on tablet): Activity Timeline — last 10 events, vertical timeline with icon + message + relative time ('2 min ago'). Auto-scrolls.

Bottom: Quick Action buttons (role-based). Lab Tech: 'New Test' (primary), 'Register Meter'. Manager: 'Pending Approvals' (badge count). Admin: 'System Status'.

3.3.3 New Test

Step wizard with progress stepper at top (3 steps):

Step 1 - Select Meter: Searchable dropdown of registered meters. Each option shows: serial number, size badge (DN15/20/25), manufacturer. 'Register New' button opens modal for quick registration.

Step 2 - Review Test Points: Auto-populated Q1-Q8 table based on meter size and class. Columns: Q-point, flow rate (L/h), test volume (L), duration, MPE%, zone. Read-only for standard tests. Info card showing meter details above table. ISO 4064 badge.

Step 3 - Confirm & Submit: Summary card: meter info, 8 test points, estimated duration. Notes field (optional). 'Submit to Bench' button (primary). Cancel button. On submit: ASP message sent to bench via LoRa. Status toast: 'Test submitted, waiting for bench acknowledgment...'

3.3.4 Live Monitor

Full-width layout. Top: Q-point progress stepper (Q1-Q8). Completed: green check. Active: blue pulse. Pending: gray. Failed: red X. Click any completed point to see its result.

Center: 3 circular gauges (SVG/CSS) — Flow Rate (L/h), Upstream Pressure (bar), Weight (kg). Needle animation on value change. Color zones (green/orange/red).

Below gauges: Key metrics row — Temperature (°C), VFD Frequency (Hz), Error% (current point). Updated every 2s via HTMX polling.

Bottom: Status bar — current state name, elapsed time counter, LoRa comm indicator. ABORT button (danger, requires confirmation modal: 'Are you sure? Type ABORT to confirm.').

3.3.5 Test Results

Split layout. Left (60%): Q1-Q8 results table. Columns: Q-point, target flow, actual flow, ref volume, DUT volume, error%, MPE%, pass/fail badge. Row color: green tint for pass, red tint for fail. Overall verdict banner at top: large green PASS or red FAIL.

Right (40%): Error curve chart (Chart.js). X-axis: flow rate (log scale). Y-axis: error%. Q1-Q8 plotted as circles (green=pass, red=fail). MPE envelope as dashed lines (±2% upper, ±5% lower, transition at Q2). Tooltip on hover.

Below: Approval section (Manager only). Approve button (green) + Reject button (red) + comment field. Status badge: Pending/Approved/Rejected. Approved: Generate Certificate button appears.

3.3.6 Test History

Filterable data table. Filters: date range picker, meter serial search, status dropdown (all/pass/fail/pending), technician dropdown (Manager/Admin see all). Columns: date, meter serial, size, overall result, initiated by, approved by, certificate. Sortable. Pagination (10/25/50). Click row to expand or navigate to detail. Export to CSV button.

3.3.7 Meter Registry

Default: card grid view. Each card: gauge icon, serial number (bold), size badge (DN15/20/25), class badge (R160), manufacturer, test count, last tested date. Toggle to table view. 'Add Meter' button opens modal: serial number, size select, class select, manufacturer, model, type (mechanical/ultrasonic/EM), notes. Click card for detail page with full test history.

3.3.8 Certificates

Table of generated certificates. Columns: cert number, meter serial, date, tested by, approved by, download icon. Search by cert number or meter serial. Click download for PDF. Certificate PDF contains: header, lab info, meter details, Q1-Q8 results table, error curve graph, overall verdict, signatures, unique cert ID.

3.3.9 User Management (Admin)

Table: username, full name, role badge (color coded), status (active/inactive toggle), last login. 'Add User' button: modal with username, password, full name, email, role select. Edit: same modal. Cannot deactivate self. Cannot change own role.

3.3.10 Audit Log (Admin/Manager)

Chronological table with icon per action type. Columns: timestamp, user, action, entity, detail (expandable JSON). Filters: user, action type, date range. Export CSV.

3.3.11 Settings (Admin)

Grouped settings cards: Communication (serial port path, baud rate, LoRa channel), Security (key rotation, view current device ID), System (database backup/download, system info, uptime). 'Test Connection' button for serial link health check.

# 4. Bench Side — 7-inch Touch LCD UI

## 4.1 Kiosk Environment

RPi5 boots into Raspberry Pi OS Lite (no desktop). Auto-starts openbox window manager + Chromium in kiosk mode. No taskbar, no right-click, no keyboard shortcuts, no cursor (hidden via unclutter). Django server starts as systemd service before kiosk. Browser opens http://localhost:8080/bench/.

Resolution: 1024x600 pixels (7-inch). Everything designed for this exact viewport.

Touch targets: Minimum 48x48px. No small links. Toggle switches instead of checkboxes. Large buttons.

Navigation: Fixed bottom tab bar (not sidebar — too narrow for 7-inch). 5 tabs with large icons + short labels.

Contrast: Slightly higher than lab UI. Readable in bright workshop lighting.

Gestures: Swipe left/right for Q-point navigation. Swipe down to refresh. Long-press for secondary actions.

## 4.2 Bottom Tab Bar

| Tab | Icon | Description |
| --- | --- | --- |
| Home | layout-dashboard | System overview, sensor health, reservoir level, quick actions |
| Test | play-circle | Create new test / active test monitor (context-sensitive) |
| Results | clipboard-check | View results of last/current test, Q-point cards |
| History | history | Past test list, scrollable |
| Setup | settings | PID tuning, serial config, safety limits, system info |

Tab bar: 64px height. Active tab: primary color icon + text + top 3px accent border. Inactive: muted text. Always visible except during full-screen gauge mode.

## 4.3 Page Specifications (Bench Touch)

4.3.1 Home (Dashboard)

Top section (2 rows of status pills):

Row 1: LoRa Status (green dot + 'Connected' / red + 'Offline'), Contactor (green 'POWER ON' / red 'E-STOP'), Reservoir Level (% bar with color: green>60%, orange 20-60%, red<20%).

Row 2: Bus 1 (green/red = sensors OK/offline), Bus 2 (green/red = VFD OK/offline), Scale (weight reading or 'Offline').

Center: Large button area. If no test running: big 'START NEW TEST' button (primary, 120px height). If test running: 'VIEW TEST' button. Below: last test summary card (meter, result, date).

Bottom status strip (always visible on all pages): one-line text showing current system state. 'IDLE - System Ready' (green) / 'TEST RUNNING - Q3 Flow Stabilize' (blue) / 'E-STOP ACTIVE' (red blinking).

4.3.2 Test Tab — New Test Wizard

Context-sensitive: shows wizard if no test active, shows live monitor if test running.

Wizard is 4 full-screen steps (swipe or Next button):

Step 1 - Select Meter: Large scrollable list of registered meters. Each row: serial (big text), size badge, last test date. Search bar at top (touch keyboard appears). 'Register New' button at bottom opens entry form.

Step 2 - DUT Mode: Two large toggle cards: 'RS485 Automatic' (with settings: address, baud) and 'Manual Entry' (operator reads meter display). Tap to select. Green border on selected.

Step 3 - Test Points: Q1-Q8 cards in 2x4 grid. Each card: Q-point name, flow rate, volume, duration. All auto-populated. Read-only. Scrollable if needed. ISO 4064 badge at top.

Step 4 - Confirm: Summary: meter serial, size, DUT mode, 8 points. Large green 'START TEST' button (full width, 80px height). 'Back' button. On start: system begins PRE_CHECK state.

4.3.3 Test Tab — Live Monitor (During Active Test)

FULL SCREEN layout. No bottom tab bar (hidden). Only status strip at very bottom.

Top bar: Q-point stepper (Q1-Q8 as circles, 40px each). Green check = done. Blue pulse = active. Gray = pending. Red X = failed. Current Q-point label centered above gauges.

Center (80% of screen): THREE LARGE CIRCULAR GAUGES arranged in a row:

Gauge 1 - Flow Rate: 0-5000 L/h (or auto-scale). Current value in center (32px bold). Needle with smooth animation. Green zone around target ±2%.

Gauge 2 - Pressure: 0-10 bar. Shows upstream pressure. Red zone >8 bar.

Gauge 3 - Weight: 0-200 kg. Shows current collection. Target line marked. Fills green as weight increases.

Below gauges: single row of key values: Temp (°C), VFD (Hz), Duration (mm:ss), State name. All in 16px.

Bottom-right: ABORT button (red, 80x60px). Tap shows confirmation: 'Abort test? Current Q-point data will be lost.' with Confirm/Cancel.

Exit full-screen: tap anywhere outside gauges to show bottom tab bar briefly (3 seconds).

4.3.4 Manual DUT Entry Overlay

Appears during MEASURE state when DUT mode is 'Manual'. Full-screen overlay with blur background.

Content: Meter illustration icon (large, 48px). Prompt text: 'Read meter display and enter BEFORE value' (or AFTER). Current Q-point badge. Large numeric display showing entered value (32px, right-aligned). Custom touch keypad: 0-9 buttons (64px each), decimal point, backspace (←), clear (C). Arranged in 4x3 grid + bottom row: [Clear] [0] [.] [Backspace]. Below keypad: 'CONFIRM' button (green, full-width, 56px height). Validation: after value must be > before value, reasonable range check.

4.3.5 Results Tab

If test just completed: overall verdict banner (full width, 48px height, green PASS / red FAIL with large icon).

Q-point results as swipeable cards (one card per Q-point). Each card: Q-point name (Q1-Q8) with pass/fail badge. Target flow vs actual flow. Reference volume vs DUT volume. Error% in large text (green if within MPE, red if outside). Swipe left/right to navigate. Dot indicators at bottom.

Last card: Summary. Overall pass/fail, total points passed/failed, test duration, 'Generate Certificate' button (if Admin/Manager), 'View Error Curve' button (opens Chart.js graph in full-screen modal).

4.3.6 History Tab

Scrollable list (infinite scroll). Each row: date (left), meter serial (center bold), result badge (right, green/red pill). Tap to expand inline: Q-point summary, download cert button. Pull-down to refresh. Search at top.

4.3.7 Setup Tab (Admin only)

Grouped cards, scrollable:

PID Tuning: Kp, Ki, Kd values with +/- steppers (0.01 increment). Apply button. Current values displayed. 'Reset to Default' option.

Serial Ports: Bus 1 device path, Bus 2 device path. Baud rates. 'Test Connection' button for each (sends ping, checks response).

Safety Limits: Max pressure (bar), min reservoir level (%), max scale weight (kg), flow stability tolerance (%). Sliders with numeric display.

LoRa: Status, last heartbeat, signal strength. Lab connection test button.

System: IP address, uptime, DB size, software version. 'Restart Service' button. 'Export Database' button.

# 5. Interaction Patterns & UX Standards

| Pattern | Lab Portal | Bench Touch LCD |
| --- | --- | --- |
| Confirmation | Modal dialog with text description | Full-screen overlay. For destructive: type keyword. |
| Loading | Skeleton placeholders + inline spinners | Spinner overlay on content area. Never blank. |
| Error | Red toast (top-right, 5s). Inline form errors. | Red banner at top (persistent until dismissed). Buzzer beep. |
| Success | Green toast (top-right, 3s auto-dismiss) | Green flash on affected element. Brief vibration. |
| Empty State | Icon + message + CTA button | Same but larger (48px icon). E.g. 'No tests yet' |
| Real-time Update | HTMX polling 2s. Smooth fade transitions. | WebSocket via Django Channels. Gauge needle animation 300ms. |
| Navigation | Sidebar click. Breadcrumbs. | Bottom tab tap. Back button on nested pages. |
| Forms | Standard inputs. Focus ring. Inline validation. | Large inputs (48px). Touch keyboard. Steppers for numbers. |
| Tables | Hover highlight. Sortable headers. Pagination. | Scrollable list. Tap to expand. Infinite scroll. |
| Keyboard Shortcuts | Ctrl+N (new test), Ctrl+E (E-stop), Ctrl+D (dashboard) | None — touch only. E-stop has physical button. |
| Session Timeout | 30 min inactivity. Warning at 25 min. | No timeout — always logged in as system user. |
| Accessibility | WCAG 2.1 AA. Color + icon pairing. Focus indicators. | High contrast. Large targets. Color + icon + text. |

## 5.1 Tower Light Integration with UI

| System State | Tower Light | Touch LCD Status Strip |
| --- | --- | --- |
| IDLE / Ready | Green steady | Green bar: 'System Ready' |
| Test Running | Yellow steady | Blue bar: 'TEST RUNNING - Q3 Flow Stabilize' |
| Test Complete PASS | Green blink 3x | Green bar: 'TEST COMPLETE - PASSED' (5 seconds) |
| Test Complete FAIL | Red blink 3x | Red bar: 'TEST COMPLETE - FAILED' (persistent) |
| Error / Comm Failure | Yellow blink | Orange bar: 'ERROR - Sensor offline. Tap to retry.' |
| E-Stop Active | Red steady | Red blinking bar: 'EMERGENCY STOP ACTIVE - Reset required' |

END OF DOCUMENT